## Sheet1
EA Template Air Quality Management Action Plan (AQMP) Aggregated Diesel Standby 30/11/21 DRAFT
| Information on Incident | Details
| Type of Incident | This is a self-reported potentially polluting event to air quality caused by an EA permitted installation
| Permit reference | EPR/XXXXXX
| Location: | <address & post code>
| Time and date of the outage: | <dd/mm/yy hh:mm>
| Initial Understanding of the Incident: | We are a large Data centre needing to run a significant number of standby diesel engines due to a likely prolonged power outage. This has the potential to lead to ambient air quality breaches especially if power loss exceeds 18 hours duration.
Potential Duration & Scale
| We have assessed the current outage scenario as | <copy the appropriate text from table 1.4>
| and could be running for the following number of hours as a result of the power loss on site | <hours>
| Number of standby generators operating after 30minutes | <n>
| Number of standby generators actually or predicted to be operating after 2 hours | <n>
| Initial Actions being taken: | We have initiated the agreed air quality action plan (AQMP – for info this will be logged in your document management system DMS under the permit reference). The AQMP includes the requirement to make this notification as soon as practical.
| Other steps taken include: | <other steps taken include>
| Our local EA Site permit contact is : | <enter name from contact sheet>
| Updates | <reference>:
Confirm that the outage has ceased
| Visual Impact (fumes etc): | Yes/No
| Commenced AQ assessment of impacts at potential receptors | Yes/No commenced at hh:mm
Contact Details:
| For urgent enquiries, please call | XXXXXX.
| If you're unable to get in touch, please email our service desk and request that we return your call urgently, providing details of the information you require. | xxxxxx.